# ISOTRYX User Guide

# 1. Purpose of the App

ISOTRYX is a Streamlit-based application for stable isotope tracer analysis from LC-MS data in mzML format. It extracts isotopologue peak areas, applies isotope correction, supports retention-time alignment, enables manual QC correction, and produces tables and visualizations for downstream interpretation.

The app is designed for experiments where labelled substrates such as 13C, 15N, 2H, 18O, or 34S are incorporated into metabolites and detected as isotopologue distributions.

Core outputs include:

- raw isotopologue peak areas

- isotope-corrected isotopologue peak areas

- corrected Mass Isotopomer Distribution (MID) fractions and percentages

- raw and corrected mean enrichment

- QC status for each metabolite in each file

- replicate detection counts

- summary charts and PCA plots

- downloadable combined results tables

- # Running the App

- If you run this app on Windows please follow these steps:

- Download the latest release from GitHub page

- Locate in this folder path /ISOTRYX_Windows_Portable_v1/ and double click run.exe and then it will appear in your browser

- If you run this app on Mac based on M or Intel chip please follow these steps:

- Since macOS version of app isn't signed with an Apple Developer certificate, macOS Gatekeeper will block it on first launch with a message like "ISOTRYX" cannot be opened because it is from an unidentified developer or "ISOTRYX" is damaged and can't be opened. This is expected — here's how to open it anyway:

- Download the latest release from GitHub page

- Try opening the app once Locating in this folder path for M chip: /ISOTRYX_macOS_build_kit_M_CHIP/dist/ and this folder path for Intel chip: /ISOTRYX_macOS_build_kit_intel/dist/ and double click ISOTRYX.app  — you'll get a warning and the option to click Done or Cancel.

- Go to System Settings → Privacy & Security.

- Scroll down to the Security section. You should see a message: "ISOTRYX" was blocked to protect your Mac.

- Click Open Anyway.

- Confirm again in the popup by clicking Open. You may be asked to enter your Mac password and then it will appear in your browser.

- Alternatively, if you’re familiar with the command line, you can run the app via Terminal on a Mac by following these steps:

- Download ISOTRYX_macOS_build_kit from GitHub page

- Follow steps as described in README_BUILD_ON_MAC.md

- The dataset used in the video tutorial was analyzed on a Mac with an Apple M-series chip. The dataset and video tutorial are available on Zenodo.

# 2. Required Input Files

ISOTRYX uses three main input types:

- Raw LC-MS files converted to mzML format. The complete process for converting raw data before uploading it to ISOTRYX is described in the Supplementary Application Note.

- Metabolite metadata files: Excel or CSV files describing the metabolites to extract.

- Optional batch mapping CSV: A table linking each mzML file to its metadata file and sample annotations.

Blank files can also be uploaded for blank filtering.

# 3. Metabolite Metadata File

Each metadata file defines the metabolite targets that should be extracted from the mzML files.

Required columns:

| Column | Description |
| --- | --- |
| `Name` | Metabolite name. Also accepted: `Metabolite`, `Compound`. |
| `m/z` | Monoisotopic M+0 m/z. Also accepted: `mz`, `Mass`. |
| `RT` | Expected retention time in minutes. Also accepted: `R.T.`, `Retention Time`. |
| `Formula` | Molecular formula, for example `C6H12O6`. Strongly recommended for accurate isotope correction. |
| `Tracer` | Isotope tracer, for example `13C`, `15N`, `2H`, `18O`, or `34S`. |

Column names are interpreted flexibly where supported, but the recommended names above should be used for reproducibility.

Important notes:

Retention time must be in minutes.

`Formula` is used to determine the number of labelled atoms and to perform isotope correction.

If `Formula` is missing, some correction or MID calculations may be unavailable or less reliable.

The `Tracer` column should match the isotope used experimentally.

# 4. Batch Mapping CSV

Batch Mode is the recommended upload mode for large-scale experiments.

The mapping CSV must contain these six columns:

| Column | Description |
| --- | --- |
| `mzML_filename` | Exact filename of the mzML file. |
| `Species` | Species, organism, group, or dataset label. |
| `Treatment` | Experimental treatment label. |
| `Sample_Type` | Tissue, matrix, or sample type. |
| `Ion_Mode` | Ionization mode, `Positive` or `Negative`. |
| `Metadata_filename` | Exact filename of the metadata file to use for that mzML file. |

Example:

mzML_filename,Species,Treatment,Sample_Type,Ion_Mode,Metadata_filename
sample_01_pos.mzML,Robusta,Control,Root,Positive,targets_positive.csv
sample_02_pos.mzML,Robusta,Labelled,Root,Positive,targets_positive.csv
sample_03_neg.mzML,Robusta,Control,Leaf,Negative,targets_negative.csv

## Additional Mapping Columns

You may add extra columns to the mapping CSV. These are automatically carried into the results table and become available as filters in the Analysis tab.

Example:

mzML_filename,Species,Treatment,Sample_Type,Ion_Mode,Metadata_filename,Genotype,Timepoint,Batch
sample_01_pos.mzML,Robusta,Control,Root,Positive,targets_positive.csv,WT,0h,Batch1
sample_02_pos.mzML,Robusta,Labelled,Root,Positive,targets_positive.csv,WT,24h,Batch1
sample_03_pos.mzML,Brevipes,Labelled,Root,Positive,targets_positive.csv,Mutant,24h,Batch2

In this example, Genotype, Timepoint, and Batch will appear in the full results table and in the app filters.

# 5. Upload your own dataset

This panel lets you define your own sample groups — useful for custom experiments, public datasets, or any non-standard sample layout.

Step 1: Set the number of groups

Expand "Upload your own dataset here" and set "Number of custom upload groups" to however many distinct Species/Sample Type/Treatment combinations you need — one group per combination, including any QC groups (up to 20 total).

Step 2: Fill in each group's labels

For every group, fill in three free-text fields:

| Field | What to type |
| --- | --- |
| Species / group | Any name — e.g. Wheat, Arabica, a public dataset ID |
| Sample type | Any tissue/matrix name — e.g. Roots, Leaves, Plasma |
| Treatment | Any condition — e.g. Control, Treated, Inoculated |

These labels are how the app organizes and later filters your data in QC, Analysis, and PCA — keep them consistent across related uploads (spelling/case doesn't matter, but the same tissue/treatment should always be typed the same way).

Step 3: Upload files for that group

For each group, upload:

- Positive mode: metadata file (.xlsx/.csv) + mzML file(s)

- Negative mode: metadata file (.xlsx/.csv) + mzML file(s)

You only need to fill in Positive or Negative if that's the only mode you have — both are optional independently.

Step 4: Repeat for each group, then add QC groups if needed

Click through groups 1, 2, 3... filling in the same way. If you want RT Alignment (Section 7 in the sidebar), you must add a dedicated QC group per tissue + treatment, named using one of these conventions:

- Sample type ends in _QC → e.g. ROOTS_QC (matches ROOTS samples)

- Sample type or Treatment is exactly QC

- Species starts with QC_

The QC group's Treatment must exactly match the treatment of the real samples it's meant to align. One QC group is needed per (tissue, treatment) pair — QC is never shared across treatments or tissues.

⚠️ Note: The custom uploader has no dedicated "QC" toggle — QC detection is based purely on how you name the Sample Type/Treatment/Species fields above.

Step 5: Run the extraction

Once all groups are uploaded, scroll down — the tabs (Batch Processing, QC & Manual Fix, Data Analysis & Charts, Multivariate Stats) will populate automatically based on every group defined here.

Example — Roots with QC alignment

| Group | Species | Sample type | Treatment | Files |
| --- | --- | --- | --- | --- |
| 1 | Wheat | ROOTS_QC | Control | QC mzML + metadata |
| 2 | Wheat | ROOTS | Control | QC mzML + metadata |

6. Blank and Reference Controls

Blank mzML files can be uploaded in the Global Reference Controls section.

Use blanks for:

solvent blanks

extraction blanks

unlabelled matrix controls

background contamination checks

The app extracts the maximum blank peak height for each istopologue. A sample peak must be greater than the blank height multiplied by the Blank Fold Change Threshold.

Example:

If the blank height is 1000 and the blank fold-change threshold is 3.0, the sample peak height must be at least 3000 to pass the blank filter.

# 7. Sidebar Settings

## 7.1 Extraction Parameters

m/z tolerance (ppm): Controls the mass window around each target m/z.

Target RT Window (+/- minutes): Controls the initial retention-time search window around the metadata RT.

## 7.2 Peak Detection and Noise

Gaussian Filter Sigma: Controls smoothing of chromatographic traces.

Minimum Peak Height: Isotopologue peaks below this height are set to zero.

Minimum Peak Area: Isotopologue peaks below this area are set to zero.

Minimum Consecutive Scans: Minimum number of scans required across chromatography peak

## 7.3 Isotope Tracer Settings and Blank Filtering

Tracer Purity (%): Purity of the purchased isotope tracer. For example, use 99.0 for 99% tracer purity.

Correct tracer natural abundance: When enabled, the app corrects for natural abundance of the tracer element as part of the isotope correction.

Blank Fold Change Threshold: Minimum sample-to-blank peak-height ratio required for a peak to pass blank correction.

## 7.4 Replicate SD Warning Line and Data Export

Controls the horizontal warning line shown in the replicate standard deviation chart.

Drop Undetected Metabolites (0 Area): When enabled, metabolites with no detected signal are removed from the extracted results table. Manual QC reintegration can add a missing row back into the results if a peak is later manually integrated.

## 7.5 Retention Time Alignment and Batch Mode

Enable RT Alignment using QC samples: Uses QC samples as anchors to estimate metabolite-specific RT shifts. This is recommended for batch experiments with retention-time drift.

Enable Batch Mode (single upload): Enables the mapping CSV workflow

# 8. Workflow

- Prepare mzML files and metabolite metadata files.

- Prepare the mapping CSV with the required six columns.

- Optionally add extra mapping columns such as `Batch`, `Timepoint`, `Genotype`, or `Replicate_Group`

- Open ISOTRYX.

- Set extraction parameters in the sidebar

- Upload optional blank files

- Enable Batch Mode

Upload:

- mapping CSV

- all mzML files

- all metadata files

- Open the Batch Processing tab.

- Run extraction.

- Inspect the RT alignment summary and combined results table.

- Use QC & Manual Fix to inspect or correct individual peaks.

- Use Analysis and PCA tabs for interpretation.

- Download the combined results CSV.

# 9. QC Status Values

Typical QC statuses include:

| Status | Meaning |
| --- | --- |
| `Pass` | Peak passed detection and correction checks. |
| `Pass: M+0 not detected (fully labelled?)` | The unlabelled isotopologue (M+0) was absent but labelled isotopologues (M+1,..M+n) were detected. This can be biologically valid in highly labelled samples. |
| `Fail: No signal` | No detectable peak area was found. |
| `Fail: Blank` | Peak did not exceed the blank fold-change threshold. |
| `Fail: Below height threshold` | Peak height was below the minimum height threshold. |
| `Fail: Below area threshold` | Peak area was below the minimum area threshold. |
| `Fail: Computation error` | Isotope correction could not be completed. |
| `Manually Edited` | The row was changed through the QC & Manual Fix tab. |

# 10. RT Alignment

When RT alignment is enabled, QC samples are used to estimate metabolite-specific retention-time drift.

The app records:

original RT

aligned RT

RT shift in minutes

status of the alignment

If a large shift is reported, inspect the metabolite manually. Large shifts can indicate true chromatographic drift, incorrect metadata RT, or a misidentified peak.

# 11. QC & Manual Fix Tab

The QC & Manual Fix tab is used to visually inspect EICs and correct peak integrations.

## 11.1 Inspect & Compare Peaks Side-by-Side

Use this section to:

select files or replicate groups

select a metabolite

view isotopologue chromatograms

inspect peak shape, noise, apex RT, and peak boundaries

The displayed chromatograms are raw EICs. Final numerical results still apply blank filtering and isotope correction.

## 11.2 Manual Integration

The Manual Integration Tool allows users to review and reintegrate individual isotopologues when automatic peak boundaries require adjustment. It is available under QC & Manual Fix and requires the original mzML files and corresponding metadata.

Standard (Exact RT Bounds)

The Standard method integrates the extracted-ion chromatogram within user-defined Start RT and End RT boundaries. For each isotopologue, the app extracts the maximum intensity within its specified m/z tolerance from every MS1 scan inside the selected retention-time window.

Peak area is calculated from the original, unsmoothed EIC using trapezoidal integration:

A=iIi+Ii+12RTi+1-RTi

All acquired MS1 scans located inside the selected RT window are included. If you set 4 scans in the side bar, at least four scans are required to calculate an area. If a numerical boundary lies between four acquired scans, integration begins or ends at the nearest scan located inside the window; no artificial boundary point is interpolated.

The integration plot displays:

- A green dashed line marking Start RT.

- A red dashed line marking End RT.

- Light green shading across the selected RT window.

- Shading under the integrated chromatographic signal.

Smoothing

Local Smoothing (Sigma points) controls the smoothed trace shown in the integration plot. Smoothing is provided only to assist visual evaluation of peak shape and boundaries. Quantitative peak height and area are calculated from the original EIC and are not calculated from the smoothed trace.

Local-baseline subtraction

The optional Apply local linear baseline subtraction setting estimates the chromatographic background immediately outside the integration window.

Baseline flank (min) defines the width of the regions sampled immediately before Start RT and after End RT. For example, for an integration window of 5.00–5.30 min and a flank width of 0.05 min, the app examines 4.95–5.00 min and 5.30–5.35 min.

Minimum flank scans/side specifies the minimum number of MS1 scans required in each flank. The median intensity is calculated independently for the left and right flanks, and a straight baseline is fitted between these values. This baseline is subtracted from the signal inside the integration window, with negative corrected intensities constrained to zero.

If either flank contains too few scans, local-baseline subtraction is not applied. The app retains the unadjusted exact-bound area, displays a warning and records the fallback in the manual-edit audit information.

Peak acceptance criteria

Manual reintegration uses the following settings from the application sidebar:

- Minimum Peak Height

- Minimum Peak Area

- Blank Fold Change Threshold

When local-baseline subtraction is enabled, the peak-height and peak-area thresholds are applied to the baseline-corrected signal. If an isotopologue fails either threshold, its area is set to zero.

The sidebar Minimum Consecutive Scans setting applies to automatic peak detection. Manual Exact RT Bounds integration instead requires at least four scans within the selected window.

Blank QC

Manual integration uses the same isotopologue-level blank fold-change rule as automatic extraction. The maximum raw peak height observed for the isotopologue is compared with the maximum matched blank peak height.

Updating results

Users may select one or more files and isotopologues for reintegration. Only the selected isotopologues are replaced; unselected isotopologues remain unchanged.

After selecting the RT boundaries, click Integrate & Update Global Data. The app then:

- Re-extracts the selected isotopologues from the mzML file.

- Calculates their exact-bound peak areas.

- Applies the optional local baseline.

- Applies height, area and blank QC.

- Recalculates natural-abundance and tracer-purity corrections.

- Updates MID fractions, enrichment values and the global results table.

- Records the operation in the Manual Edit History.

The Remove Selected Isotopologues function sets the selected isotopologue areas to zero, excludes them from subsequent MID calculations and recalculates the result. Manual settings and edit history are retained when an exported ISOTRYX session is restored.

## 11.3 Remove Selected Isotopologues

This tool sets selected isotopologue areas to zero for the selected file(s) and metabolite.

Use this when an isotopologue peak is clearly noise, interference, carryover, or an incorrect integration.

After removal, the app recalculates the same downstream metrics as manual integration.

Important!!! Removal requires the row to already exist in the results table.

# 12. Analysis Tab

The Analysis tab provides interactive plots and summaries.

Available filters:

Species

Sample Type

Treatment

Ion Mode

Additional mapping filters from custom mapping CSV columns

## 12.1 Corrected MID Chart

The corrected MID chart shows the mean corrected isotopologue distribution for a selected metabolite and ion mode.

For each isotopologue, the chart shows:

mean corrected fractional contribution

standard deviation across replicates and replicate detection label

## 12.2 Replicate Agreement

The replicate agreement section summarizes variability between replicates.

Use this section to identify:

conditions with high standard deviation

metabolites with inconsistent detection

replicate groups that may need manual inspection

## 12.3 Side-by-Side Replicate Peak Areas

This section compares isotopologue peak areas between selected replicates.

It is useful for checking:

whether one replicate dominates a group mean

whether isotopologue distributions are consistent

whether manual QC may be needed

# 13. PCA Tab

The PCA tab performs principal component analysis on selected isotope-derived metrics.

Available PCA metrics include:

raw total peak area, when raw area columns are available

corrected total peak area

corrected/excess enrichment

The PCA score plot shows sample-level clustering. The PCA loadings table identifies metabolites contributing most strongly to PC1 and PC2.

# 14. Results Table Columns

Core output columns include:

| Column | Meaning |
| --- | --- |
| `Filename` | mzML filename. |
| `Species` | Species or group from mapping/upload. |
| `Ion_Mode` | Positive or negative ion mode. |
| `Treatment` | Treatment label. |
| `Sample_Type` | Tissue, matrix, or sample type. |
| `Metabolite` | Metabolite name. |
| `QC_Status` | Peak and correction status. |
| `Target_m/z` | Metadata target m/z. |
| `Apex_m/z` | Observed apex m/z. |
| `Target_RT` | Metadata target RT. |
| `Apex_RT` | Observed apex RT. |
| `Tracer` | Tracer isotope. |
| `Tracer_Element` | Chemical element used for tracer correction. |
| `N_Tracer` | Number of atoms of the tracer element considered for isotopologue correction. |
| `Raw_ME_%` | Raw mean enrichment before correction. |
| `Natural_Abundance_ME_%` | Natural abundance reference estimate. |
| `Excess_Enrichment_%` | Corrected/excess mean enrichment after isotope correction. |
| `Total_Peak_Area` | Sum of corrected isotopologue areas. |
| `M+X Area (Raw)` | Raw peak area for isotopologue M+X. |
| `M+X Area (Corrected)` | Isotope-corrected area for isotopologue M+X. |
| `M+X MID Fraction (Corrected)` | Corrected fractional contribution of M+X, from 0 to 1. |
| `M+X MID % (Corrected)` | Corrected fractional contribution of M+X, from 0 to 100%. |
| `N_Replicates_Detected` | Number of detected replicates in the metabolite/condition group. |
| `N_Replicates_Total` | Total number of replicates in the metabolite/condition group. |
| `N_Blanks_Used` | Number of blank files referenced for this row's blank comparison (populated after a manual edit) |
| `Local_Baseline_Applied` | Whether local baseline subtraction was used for this integration |
| `Baseline_Flank_min / Baseline_Min_Scans` | Baseline-correction settings used |
| `M+{i} Area (Unadjusted)` | Raw area before any baseline subtraction |
| `M+{i} Baseline Area` | The subtracted local-baseline area, if baseline correction was applied |
| `M+{i} Area (Baseline Corrected)` | Area after local baseline subtraction |
| `M+{i} Excluded From MID` | 1 if this isotopologue was manually excluded from the MID calculation, else 0 |
| `M+{i} Excluded By Blank` | 1 if this isotopologue's area was zeroed because it failed the per-isotopologue blank fold-change, else 0 |
| `Manual_Edit_Type` | Reintegration or Remove isotopologues |
| `Manual_Isotopologues` | Which M+i labels were affected by the edit |
| `Manual_RT_Start / Manual_RT_End` | Manually specified integration boundaries |
| `Manual_Algorithm / Manual_Smoothing` | Peak-picking method and smoothing setting used for the manual reintegration |
| `Manual_Edit_Timestamp` | When the edit was made |
| `Manual_Edit_Log` | Running history of edits to this row |
| `Manual_Correction_Details` | Full structured audit JSON (per-isotopologue area/height/blank/baseline details behind the edit) |

# 15. Session Restore

The sidebar allows a previously downloaded results CSV to be uploaded.

Use this when:

extraction has already been completed

the app session was closed

results need to be reviewed later

Restored sessions can skip directly to Analysis and PCA. Custom mapping columns from the saved results table are detected and restored as analysis filters.

# 16. Troubleshooting

## The app says an mzML file is missing

Check that mzML_filename in the mapping CSV exactly matches the uploaded filename, including extension.

## The app says a metadata file is missing

Check that Metadata_filename exactly matches the uploaded metadata filename.

## No metabolites are extracted

Possible causes:

RT window is too narrow

m/z tolerance is too narrow

metadata RT is in seconds instead of minutes

wrong ion mode metadata file was used

peak height or area thresholds are too high

Drop Undetected Metabolites removed zero-area rows

## Custom mapping columns do not appear

Confirm that:

the extra columns are present in the mapping CSV before upload

the app was run in Batch Mode

the combined results table was generated after uploading the mapping CSV